## PICO calculator
QX 200 / 600
Step 1: Preparation of the Calibration Curve (CLC)
|  | Sample name | Dil1 | Dil2 | Dil3 | Dil4 | Dil5
|  | Total dilution factor | 0 | 0 | 0 | 0 | 0
Dilution factor
|  | Volume (µl) | 60 | 60 | 60 | 60 | 60
|  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Carry-over volume |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
|  | Dil1 |  | Dil2 | Dil3 | Dil4 | Dil5
| Cell lysis buffer (LB) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Step 2: Preparation of the Antibody Mix (ABX)
| Name of antibody |  |  | AB name | Ab name 2 | Ab3 | Ab4
| Antibody labeling efficiency [%] | [6 empty] | ABX pipetting scheme
| Stock antibody concentration [cp/µl] (measured by dPCR) |  |  | 48200000000 | 48200000000 |  |  | LB-Stock | 50 µl |  | 47,5 µl | PBS
| Stock antibody concentration [M] |  |  | 8.0038e-08 | 8.0038e-08 | 0 | 0
| Stock antibody pre-dilution (adjust to have a pipettable range in #F44-I44; if 1 is used no pre-dilution is considered) |  |  | 1 | 1 | 1 | 1
| Ab. working conc. in the binding reaction [M] |  |  | 5e-10 |  |  |  | AB name | 1,2 µl |  | 1,2 µl | Ab name 2
| Total ABX volume [µl] |  |  | 100
| Dilution factor introduced by binding reaction setup (usually 2) |  |  | 2 |  |  |  | Ab3 | 0 µl |  | 0 µl | Ab4
| Antibody stock/pre-dilution [µl] |  |  | 1.2494 | 1.2494 | 0 | 0
| LB-Stock volume to total ABX volume [µl] |  |  | 50
| PBS volume to total ABX volume [µl] |  |  | 47.5012
| If volume is negative, use LB-Buffer instead of LB-Stock and PBS [µl] |  |  | 97.5012
dPCR pre-dilution scheme for 3 DG8 Cartridges
Step 3: dPCR pre-dilution
| Ab. working conc. in the binding reaction [cp/µl] |  |  | 301107038
| Lambda (between 0.01-0.6, we recommend 0.15) |  |  | 0.15
| Targeted Ab. concentration for dPCR [cp/µl] |  |  | 300
| Dilution factor by pre-dilution (we recommend 10) |  |  | 10
| Master mix volume (ul) |  |  | 25
| Number of dilution steps |  |  | 2
| Carry-over volume of previous dilution [µl] |  |  | 3
| Volume of PBS required for each dilution step [µl] |  |  | 187
| Dilution factor back to binding reaction |  |  | 1002777.7778 | 0 |  |  |  | 3 µl | 3 µl | 1 µl
| Dilution factor back to AB stock concentration for AB name |  |  | 160520621.5413
| Dilution factor back to AB stock concentration for Ab name 2 |  |  | 160520621.5413
| Dilution factor back to AB stock concentration for Ab3 |  |  | #DIV/0! |  |  |  | dPCR pre-dilution scheme for 12 DG8 Cartridges
| Dilution factor back to AB stock concentration for Ab4 |  |  | #DIV/0!
3µl
3 µl
1 µl

## variables (hidden)
AvogadroConstant | 6.0221e+23
PartitionVolume | 0.0005 | Dropdown | 4e-11
Version | 2025-01-01 |  | 5e-10
CPabccorr=CPlambcorr - meanABC
CPnorm=CPabccorr + ¦((meanCPabccorr/(LEab1/100*LEab2/100))-meanCPabccorr)¦
CP[M]=(CPnorm*DFbBR*10⁶)/(avogadro*MMvol)
Naming:
Dil1
Dil2
Dil3
Dil4
Dil5