## PICO calculator
Welcome to the PICO Calculator
Choose your Nanoplate |  | Nanoplate 26K 24-well
Step 1: Preparation of the Dilution Curve (DC)
| Sample name | Dil1 | Dil2 | Dil3 | Dil4 | Dil5
| Total dilution factor | 0 | 0 | 0 | 0 | 0
Dilution factor
Volume (µl)
| #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Carry-over volume |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
| Dil1 |  | Dil2 | Dil3 | Dil4 | Dil5
Cell lysis buffer (LB) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Step 2: Preparation of the Antibody Mix (ABX)
Name of antibody |  |  | Antibody A | Antibody B | Ab3 | Ab4
Antibody labeling efficiency [%] |  |  | 98% | 99% |  |  | ABX pipetting scheme
Stock antibody concentration [cp/µl] (measured by dPCR) |  |  | 19300000000 | 19300000000 |  |  | LB-Stock | 30 µl |  | 28,1 µl | PBS
Stock antibody concentration [M] |  |  | 3.2048e-08 | 3.2048e-08 | 0 | 0
Stock antibody pre-dilution (adjust to have a pipettable range in #F44-I44; if 1 is used no pre-dilution is considered) |  |  | 1 | 1 | 1 | 1
Ab. working conc. in the binding reaction [M] |  |  | 5e-10 |  |  |  | Antibody A | 0,9 µl |  | 0,9 µl | Antibody B
Total ABX volume [µl] |  |  | 60
Recommended Total ABX volume [µl] |  |  | 60
Dilution factor introduced by binding reaction setup (usually 2) |  |  | 1
Antibody stock/pre-dilution [µl] |  |  | 0.93608 | 0.93608 | 0 | 0
LB-Stock volume to total ABX volume [µl] |  |  | 30
PBS volume to total ABX volume [µl] |  |  | 28.1278
If volume is negative, use LB-Buffer instead of LB-Stock and PBS [µl] |  |  | 58.1278
dPCR pre-dilution scheme for QIAcuity Nanoplate 26k 24-well
Step 3: dPCR pre-dilution |  |  | Stick to recommended values
Ab. working conc. in the binding reaction [cp/µl] |  |  | 301107038
Lambda (between 0.01-0.6, we recommend 0.15) |  |  | 0.15
Targeted Ab. concentration for dPCR [cp/µl] |  |  | 192.3077
Dilution factor by pre-dilution (we recommend 10) |  |  | 10
Dilution factor by Master Mix (usually 42) |  |  | 42
Number of dilution steps |  |  | 2
Carry-over volume of previous dilution [µl] |  |  | 2
Volume of PBS required for each dilution step [µl] |  |  | 120
Dilution factor back to binding reaction |  |  | 1562820 | #DIV/0! |  |  |  | 2 µl | 2 µl | 1 µl
Dilution factor back to AB stock concentration for Antibody A |  |  | 100171773.4675
Dilution factor back to AB stock concentration for Antibody B |  |  | 100171773.4675
Dilution factor back to AB stock concentration for Ab3 |  |  | #DIV/0! |  |  |  | dPCR pre-dilution scheme for QIAcuity Nanoplate 8.5k 96-well
Dilution factor back to AB stock concentration for Ab4 |  |  | #DIV/0!
2µl
2 µl
1 µl

## variables (hidden)
AvogadroConstant | 6.0221e+23
PartitionVolume | 0.00078 |  | Dropdown | Nanoplate 26K 24-well | Dropdown | 4e-11
Version | 1.6 |  |  | Nanoplate 8.5K 96-well |  | 5e-10
CPabccorr=CPlambcorr - meanABC
CPnorm=CPabccorr + ¦((meanCPabccorr/(LEab1/100*LEab2/100))-meanCPabccorr)¦
CP[M]=(CPnorm*DFbBR*10⁶)/(avogadro*MMvol)
Naming:
Dil1 |  |  | 0 | 0
Dil2
Dil3
Dil4 | Ab2 labeling efficiency [%] | 80
Dil5
Note on A1: ====== ID#AAAA9GVOvWM Tobias Gross (2023-12-21 13:28:08) @marius.pollet@actome.de Kannst du hier auch noch ein "Data Protection" Setzen? _marius.pollet@actome.de zugewiesen_ ------ ID#AAAA9GZ34M4 Marius Pollet (2023-12-21 14:47:47) definitely. But it only makes sense in the exported Excel file, as it is not always completely adopted in Google Sheets and many exceptions are not accepted by Google.