## PICO EV calculator
Welcome to the EV Calculator
Choose your Nanoplate |  | Nanoplate 26K 24-well
Step 1: Preparation of the Calibration Curve
| Sample name | Stock | Dil1 | Dil2 | Dil3 | Dil4
| Total dilution factor | 0 | 0 | 0 | 0 | 0
Dilution factor
| Volume (µl) | 40 | 40 | 40 | 40 | 40
| #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Carry-over volume |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
| Stock |  | Dil1 | Dil2 | Dil3 | Dil4
PBS |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Step 2: Preparation of the Antibody Mix (ABX)
Name of antibody |  |  | Antibody - BL | Antibody - P8 | Antibody - N6 | Antibody - O7
Antibody labeling efficiency [%] |  |  | 99 | 99 |  |  | ABX pipetting scheme
Stock antibody concentration [cp/µl] (measured by dPCR) |  |  | 19300000000 | 193000000000 | 193000000000 | 193000000000 |  |  | 87,5 µl | EVB
Stock antibody concentration [M] |  |  | 3.2048e-08 | 3.2048e-07 | 3.2048e-07 | 3.2048e-07
Stock antibody pre-dilution (adjust to have a pipettable range in #F44-I44; if 1 is used no pre-dilution is considered) |  |  | 1 | 10 | 10 | 10
Ab. working conc. in the binding reaction [M] |  |  | 5e-10 |  |  |  | Antibody - BL | 3,1 µl |  | 3,1 µl | Antibody - P8
Total ABX volume [µl] |  |  | 100
Dilution factor introduced by binding reaction setup (usually 2) |  |  | 2 |  |  |  | Antibody - N6 | 3,1 µl |  | 3,1 µl | Antibody - O7
Antibody stock/pre-dilution [µl] |  |  | 3.1203 | 3.1203 | 3.1203 | 3.1203
EV buffer (EVB) [µl] |  |  | 87.5189
Total volume [µl] |  |  | 100
dPCR pre-dilution scheme for QIAcuity Nanoplate 26k 24-well
Step 3: dPCR pre-dilution
Ab. working conc. in the binding reaction [cp/µl] |  |  | 301107038
Lambda (between 0.01-0.6, we recommend 0.15) |  |  | 0.15
Targeted Ab. concentration for dPCR [cp/µl] |  |  | 192.3077
Dilution factor by pre-dilution (we recommend 10) |  |  | 10
Dilution factor by Master Mix (usually 42) |  |  | 42
Number of dilution steps |  |  | 2
Carry-over volume of previous dilution [µl] |  |  | 2
Volume of PBS required for each dilution step [µl] |  |  | 120
Dilution factor back to binding reaction |  |  | 1562820 | #DIV/0! |  |  |  | 2 µl | 2 µl | 1 µl
Dilution factor back to AB stock concentration for Antibody - BL |  |  | 100171773.4675
Dilution factor back to AB stock concentration for Antibody - P8 |  |  | 1001717734.6748
Dilution factor back to AB stock concentration for Antibody - N6 |  |  | 1001717734.6748 |  |  |  | dPCR pre-dilution scheme for QIAcuity Nanoplate 8.5k 96-well
Dilution factor back to AB stock concentration for Antibody - O7 |  |  | 1001717734.6748
2µl
2 µl
1 µl

## EV per µl
|  | Raw couplex count without ABC correction | [5 empty] | Data for calculation
| Sample Name | Replicates | [5 empty] | Antibody - BL dilution factor | 100171773.4675 | 0
Number of couplexes |  | 1 | 2 | 3 | 4 | 5 |  | Antibody - P8 dilution factor | 1001717734.6748 | 0
NTC
ABC
| Stock | [6 empty] | Master Mix volume | 42 | 0
| Dil1 | [6 empty] | Dilution Factor back to Binding Reaction | 1562820 | #DIV/0!
| Dil2 | [6 empty] | Average ABC | #DIV/0!
| Dil3 | [6 empty] | Binding reaciton dilution factor | 2 | 0 | 0 | 0
Dil4
Replicates
| Name | 1 | 2 | 3 | 4 | 5
| ABC correction | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Sample 3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Sample 4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Sample 5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Molar concentration
| Sample Name | Replicates |  |  |  |  | Mean [M] | Median [M]
|  | 1 | 2 | 3 | 4 | 5
Molar concentration [M] | Stock | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Dil1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Dil2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Dil3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Dil4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
EV/µl
| Sample Name | Replicates |  |  |  |  | Mean [EV/µl] | Median [EV/µl]
|  | 1 | 2 | 3 | 4 | 5
EV/µl | Stock | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Dil1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Dil2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Dil3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Dil4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!

## variables (hidden)
AvogadroConstant | 6.0221e+23
PartitionVolume | 0.00078 | Dropdown | Nanoplate 26K 24-well | Dropdown | 4e-11
Version | 1.3 |  | Nanoplate 8.5K 96-well |  | 5e-10
CPabccorr=CPlambcorr - meanABC
CPnorm=CPabccorr + ¦((meanCPabccorr/(LEab1/100*LEab2/100))-meanCPabccorr)¦
CP[M]=(CPnorm*DFbBR*10⁶)/(avogadro*MMvol)
Naming:
Stock |  | 0 | 0
Dil1
Dil2
Dil3
Dil4